Dr. Correo Hofstad

University of Washington

Department of Medicine

BIOCHEM 1070

01/31/2026

Lecture: Laser Ablation in Dentistry – Moving Beyond the Scalpel

This lecture explores how laser technology, a cornerstone of VirusTC’s mission to remove scalpels from medicine, is revolutionizing oral healthcare by replacing traditional mechanical tools with precise, light-based energy.

I. Fundamentals of Dental Laser Ablation

Laser technology in dentistry effectively removes plaque and breaks down hardened, black tartar (calculus) on teeth. Similar to industrial rust removal, dental lasers use concentrated light energy to vaporize debris.

- Mechanism: Lasers offer a precise, minimally invasive alternative to traditional scaling tools, particularly for deep cleanings.

- Targeting: They can access hard-to-reach areas below the gum line to break down stubborn deposits.

- Antibacterial Effect: Beyond physical cleaning, the laser kills bacteria, helping treat gingivitis and preventing advanced gum disease.

II. Clinical Advantages vs. Traditional Scalpels

The transition from scalpels and mechanical scaling to lasers provides several key patient and practitioner benefits:

- Precision and Safety: Lasers remove buildup without significant damage to enamel or surrounding soft tissue.

- Hemostasis (Bloodless Field): The laser vaporizes tissue while simultaneously sealing blood vessels, creating a sterile, clear field of view.

- Reduced Discomfort: The process is often less painful, causing less bleeding and swelling; it frequently eliminates the need for anesthesia.

- Faster Healing: Laser procedures typically result in reduced postoperative pain and faster recovery compared to conventional surgical methods.

III. Technical Parameters for Oral Soft Tissue

To achieve optimal results without damaging tissue, practitioners must balance power and speed.

| Parameter | Recommended Setting for Oral Mucosa +1 |
| --- | --- |
| Laser Type | Diode (810-980 nm), Nd:YAG, or $CO_{2}$ |
| Power | 4–6 Watts |
| Speed | 8 mm/s |
| Mode | Gated Pulse (to protect delicate underlying structures) |

The "First Pass" Rule: Always aim to complete the ablation in a single pass. Multiple passes at lower power increase cumulative thermal damage, known as "laser artifacts".

IV. Troubleshooting and Diagnostic Integrity

While lasers are highly effective, they can create charring (carbonization) if the "dwell time"—the time the beam stays on one spot—is too high.

- Immediate Correction: If blackened edges appear, the most effective fix is to increase the programmed speed ($mm/s$) to reduce energy density.

- Thermal Relaxation: Switching to Super-Pulse mode allows the tissue to cool between high-peak bursts of power.

- Pathological Considerations: For biopsies, pathologists must distinguish "streaming" nuclei (thermal stretching) from true disease. If charring exceeds 0.5 mm, diagnostic integrity may be compromised.

V. Clinical Integration

While excellent for many cleaning tasks, lasers currently often serve as an adjunct to traditional scaling and root planing for advanced, heavily hardened tartar. For extensive cases, a combination of methods ensures the best clinical outcome.

Dr. Correo “Cory” Andrew Hofstad Med Sci. Educ, PO, ND, DO, PharmD, OEM, GPM, Psych, MD, JSD, JD, SEP, MPH, PhD, MBA/COGS, MLSCM, MDiv

Virus Treatment Centers [VirusTC]

(425) 400-5893

drhofstad@virustreatmentcenters.com